HOW TO USE THE MICROSCOPE

(1) Select a slide and set it on the __________ making sure the specimen is centered over the OPENING in the stage. Carefully anchor it in place using the STAGE ________.

(2) Rotate the NOSEPIECE to center the LOWEST power ______ lens (shortest objective) over your specimen.

(3) While looking through the __________, rotate the large ____________ adjustment knob to get your specimen in view. Use the small FINE _______ knob to SHARPEN the image and make it clear.

(4) To increase magnification, rotate the ___________to center the next largest OBJECTIVE LENS (middle-sized objective) over your specimen. You may need to use the FINE adjustment knob to sharpen the image.

(5) To view your specimen under the highest magnification, rotate the nosepiece to center the _________ objective lens (longest objective) over your specimen. You

may need to use the fine adjustment knob to sharpen the image.

WARNING: Be careful using the COARSE adjustment knob with the

HIGHEST power objective! Always watch the stage from the SIDE to make sure

the slide doesn’t touch the objective LENS.

Choose one specimen and draw it as it appears in three different powers of  magnification